PIC based digital voltmeter

This project describes how to make a digital voltmeter using a PIC microcontroller. A HD44780 based character LCD is used to display the measured voltage. The PIC microconotroller used in this project is PIC16F688 that has 12 I/O pins out of which 8 can serve as analog input channels for the in-built 10-bit ADC. The voltage to be measured is fed to one of the 8 analog channels. The reference voltage for AD conversion is chosen to be the supply voltage Vdd (+5 V). A resistor divider network is used at the input end to map the range of input voltage to the ADC input voltage range (0-5 V). The technique is demonstrated for input voltage ranging from 0-20 V, but it can be extended further with proper selection of resistors and doing the math described below.

Circuit Diagram

Since the PIC port cannot take 20V input directly, the input voltage is scaled down using a simple resistor divider network. The resistors R1 and R2 scale down the input voltage ranging from 0-20V to 0-5V, before it is applied to PIC16F688’s analog input channel, AN2. A 5.1V zener diode connected in parallel between the port pin AN2 and the ground provides protection to the PIC pin in case the input voltage accidentally goes beyond 20V. The LCD display is connected in 4-bit mode, and the ICSP header makes the firmware development easier as you can reprogram and test the PIC while it is in circuit. When you are satisfied and want to transfer the circuit from the breadboard to a PCB or general-purpose prototyping board, you don’t need the ICSP header. The circuit diagram and the prototype built on a breadboard are shown below.

Important: You need a regulated +5V supply for accuracy of the output. The ADC uses Vdd as the reference for conversion, and all computations are done with Vdd = 5V. You can get a regulated +5V using a LM7805 linear regulator IC.

Circuit made on breadboard

Getting a regulated +5V from a LM7805 IC

Variable power supply source for testing the DVM

ADC Math

The accuracy depends upon the accuracy of the resistors at the input end and the stability of reference voltage, Vdd = +5V. I found Vdd is stable to +5.02 V.  I measured R1 and R2, and their values are 1267 and 3890 Ohms. So this gives,

0 – 5.02 V Analog I/P ---> 0-1023 Digital Count

=> Resolution = (5.02 - 0)/(1023-0) = 0.004907 V/Count

Va = 1267*Vin/(1267+3890) = 0.2457*Vin

=> I/P voltage = 4.07*Va = 4.07* Digital Count * 0.004907

= 0.01997 * Digital Count

= 0.02*Digital Count (Approx.)

To avoid floating point, use I/P voltage = 2*Digital Count.

Example, suppose Vin = 7.6V. Then,

Va = 0.2457*Vin = 1.87V

=> Digital Count = 1.87/0.004907 = 381

=> Calculated I/P Voltage = 2*381 = 0762 = 07.6V  (First 3 digits of 4 digit product)

Software

The firmware is written and compiled with mikroC compiler. The code is here.

/*

Digital Voltmeter based on PIC16F688

Rajendra Bhatt, Oct 12, 2010

*/

// LCD module connections

sbit LCD_RS at RC4_bit;

sbit LCD_EN at RC5_bit;

sbit LCD_D4 at RC0_bit;

sbit LCD_D5 at RC1_bit;

sbit LCD_D6 at RC2_bit;

sbit LCD_D7 at RC3_bit;

sbit LCD_RS_Direction at TRISC4_bit;

sbit LCD_EN_Direction at TRISC5_bit;

sbit LCD_D4_Direction at TRISC0_bit;

sbit LCD_D5_Direction at TRISC1_bit;

sbit LCD_D6_Direction at TRISC2_bit;

sbit LCD_D7_Direction at TRISC3_bit;

// End LCD module connections

char Message1[] = "DVM Project";

unsigned int ADC_Value, DisplayVolt;

char *volt = "00.0";

void main() {

ANSEL = 0b00000100; // RA2/AN2 is analog input

ADCON0 = 0b00001000; // Analog channel select @ AN2

ADCON1 = 0x00;

CMCON0 = 0x07 ; // Disbale comparators

TRISC = 0b00000000; // PORTC All Outputs

TRISA = 0b00001100; // PORTA All Outputs, Except RA3 and RA2

Lcd_Init();        // Initialize LCD

Lcd_Cmd(_LCD_CLEAR);             // CLEAR display

Lcd_Cmd(_LCD_CURSOR_OFF);        // Cursor off

Lcd_Out(1,1,Message1);

Lcd_Chr(2,10,'V');

do {

ADC_Value = ADC_Read(2);

DisplayVolt = ADC_Value * 2;

volt[0] = DisplayVolt/1000 + 48;

volt[1] = (DisplayVolt/100)%10 + 48;

volt[3] = (DisplayVolt/10)%10 + 48;

Lcd_Out(2,5,volt);

delay_ms(100);

} while(1);

}

Output

The DVM is tested for various input voltages ranging from 0-20 V and found to be very accurate. Some snapshots of the testing are here.